## Inspection Checklist
Detailed below is a list of the inspection items for the system. Please locate and inspect
all buried infrastructure and provide a final grade based on the condition discovered during
the inspection.
Valves (Main & Hydrant Auxilliary) - see "Inspection -Valves" sheet |  | Hydrants - see "Inspection-Hydrants" sheet
1 | Location – does it match the locations on the as-built plans? | 1 | Location – does it match the location on the as-built plans?
2 | Valve Size [in] | 2 | Are nozzle heights about 18-24 inches above ground?
3 | Actual # of turns to close and open (standard is 6"≈21 turns, 8"≈27 turns, 12"≈39 turns) | 3 | Is it easily operable by one person without cheater bars?
4 | Is it easy to turn? (Cheater bars or more than one person NOT needed?) | 4 | No leakage recorded during operation?
5 | Is lid intact? | 5 | No leakage after operation? (Acoustic check)
6 | Is valve box vertically centered? | 6 | Does the hydrant drain?
7 | Is lid flush with ground or pavement? | 7 | Manufacturer & model of hydrant
8 | Does valve seal tightly after operation? (No leaks on visual and acoustic check) | 8 | Hydrant coating condition.
Curb Box Valves- see "Inspection-Curb Box Valves" sheet |  | Wells
1 | Location – does it match the location on the as-built plans? | 1 | Well house inspection
2 | Is cover flush with grade? | 2 | Well pump test
3 | Is cover in good condition?
4 | Is the valve keyable?
5 | Does the valve operate properly?
6 | No leakage during operation?

## Inspection-Valves
Detailed below is a list of the inspection items for the system. Please locate and inspect all buried infrastructure and provide a final grade based on the condition discovered during the inspection.
Valves (Main & Hydrant Auxilliary)
| 1 | Location – does it match the locations on the as-built plans?
| 2 | Valve Size [in]
| 3 | Actual # of turns to close and open (standard is 6"≈21 turns, 8"≈27 turns, 12"≈39 turns)
| 4 | Is it easy to turn? (Cheater bars or more than one person NOT needed?)
| 5 | Is lid intact?
| 6 | Is valve box vertically centered?
| 7 | Is lid flush with ground or pavement?
| 8 | Does valve seal tightly after operation? (No leaks on visual and acoustic check) (yes if no leakage)
| Note: If answer is "No" for any question, give explanation in notes. | [8 empty] | #DIV/0! | Average condition (1-4)
| Note: Mark lid with blue paint for later GPS location. | [8 empty] | #DIV/0! | Average condition
Inspection # | Valve ID | Questions | [7 empty] | Condition | Notes
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53

## Inspection-Hydrants
Detailed below is a list of the inspection items for the system. Please locate and inspect all buried infrastructure and provide a final grade based on the condition discovered during the inspection.
Hydrants
| 1 | Location – does it match the location on the as-built plans?
| 2 | Are nozzle heights about 18-24 inches above ground?
| 3 | Is it easily operable by one person without cheater bars?
| 4 | No leakage recorded during operation? (yes if no leakage)
| 5 | No leakage after operation? (Acoustic check) (yes if no leakage)
| 6 | Does the hydrant drain?
| 7 | Manufacturer & model of hydrant
| 8 | Hydrant coating condition. | [7 empty] | #DIV/0! | Average condition (1-4)
| Note: If answer is "No" for any question, give explanation in notes. | [8 empty] | #DIV/0! | Average condition
Inspection # | Hydrant ID | Questions | [7 empty] | Condition | Notes
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18

## Inspection-Curb Box Valves
Detailed below is a list of the inspection items for the system. Please locate and inspect all buried infrastructure and provide a final grade based on the condition discovered during the inspection.
Curb Box Valves
| 1 | Location – does it match the location on the as-built plans?
| 2 | Is cover flush with grade?
| 3 | Is cover in good condition?
| 4 | Is the valve keyable?
| 5 | Does the valve operate properly?
| 6 | No leakage during operation? (yes if no leakage)
| Note: If answer is "No" for any question, give explanation in notes. | [6 empty] | #DIV/0! | Average condition (1-4)
| Note: Mark lid with blue paint for later GPS location. | [6 empty] | #DIV/0! | Average condition
Inspection # | Service Address | Questions | [5 empty] | Condition | Notes
|  | 1 | 2 | 3 | 4 | 5 | 6
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109

## System Valuation
System Valuation
All Blue Cells can be modified, white cells cannot be modified.
Utility Plant Item | Cost per | # Units | Sub Total |  | Age of the system (yr) | Depreciation Grade | Depreciation Rate | Depreciation ($) | Current System Value
6 inch Water Main - Granular Backfill | 50 |  | 0 | 343 - Trans & Dist Main |  | Excellent | 0.01 | 0 | 0
8 inch Water Main - Granular Backfill | 55 |  | 0 | 343 - Trans & Dist Main | 0 | Excellent | 0.01 | 0 | 0
12 inch Water Main - Granular Backfill | 80 |  | 0 | 343 - Trans & Dist Main | 0 | Excellent | 0.01 | 0 | 0
6 inch Valve & Valve Box | 1300 |  | 0 | 343 - Trans & Dist Main | 0 | Excellent | 0.01 | 0 | 0
8 inch Valve & Valve Box | 1600 |  | 0 | 343 - Trans & Dist Main | 0 | Excellent | 0.01 | 0 | 0
12 inch Valve & Valve Box | 2500 |  | 0 | 343 - Trans & Dist Main | 0 | Excellent | 0.01 | 0 | 0
1 inch Lateral | 1700 |  | 0 | 345 - Services | 0 | Excellent | 0.017 | 0 | 0
1 1/4 inch Lateral | 1700 |  | 0 | 345 - Services | 0 | Excellent | 0.017 | 0 | 0
1-1/2 inch Lateral | 2000 |  | 0 | 346 - Services | 0 | Excellent | 0.017 | 0 | 0
2 inch Lateral | 2800 |  | 0 | 347 - Services | 0 | Excellent | 0.017 | 0 | 0
Hydrant Assembly | 3200 |  | 0 | 348 - Hydrants | 0 | Excellent | 0.013 | 0 | 0
TOTAL |  |  | 0 | TOTAL |  |  | 0.141 | 0 | 0
Transmission and Distribution Plant
|  |  |  | Structures and Improvements | Excellent | 0.025
[5 empty] | Good | 0.029
[5 empty] | Fair | 0.033
[5 empty] | Replace | #DIV/0!
|  |  |  | Distribution Reservoirs and Standpipes | Excellent | 0.015
[5 empty] | Good | 0.018
[5 empty] | Fair | 0.02
[5 empty] | Replace | #DIV/0!
|  |  |  | Transmission and Distribution Mains | Excellent | 0.01
[5 empty] | Good | 0.011
[5 empty] | Fair | 0.012
[5 empty] | Replace | #DIV/0!
|  |  |  | Services | Excellent | 0.017
[5 empty] | Good | 0.019
[5 empty] | Fair | 0.022
[5 empty] | Replace | #DIV/0!
|  |  |  | Meters | Excellent | 0.04
[5 empty] | Good | 0.05
[5 empty] | Fair | 0.04
[5 empty] | Replace | #DIV/0!
|  |  |  | Hydrants | Excellent | 0.013
[5 empty] | Good | 0.015
[5 empty] | Fair | 0.018
[5 empty] | Replace | #DIV/0!
|  |  |  | Other Transm. and Distribution Plant | Excellent | 0.033
[5 empty] | Good | 0.045
[5 empty] | Fair | 0.067
[5 empty] | Replace | #DIV/0!

## Depreciation Rates
wisconsin Municipal Water Utilities
Wisconsin Municipal Water Utilities
Benchmark Ranges of Depreciation Rates
Effective Date is January 1, 2008 | [7 empty] | Recommeded
|  | Service Life |  |  | Net Salvage |  |  | Range of Deprec. |  |  | Recommended | Depreciation Rate
Account |  | Range of Years |  |  | Range of Percents |  |  | Rates - Percents |  |  | Depreciation |  | (per year)
Number | Account Title | Min |  | Max | Min |  | Max | Min |  | Max | Rate | Excellent | Good | Fair
Source of Supply Plant
311 | Structures and Improvements | 30 | - | 40 | -15% | - | 0% | 2.5% | - | 3.833% | 3.2% | 0.025 | 0.028571 | 0.033333
312 | Collecting and Impounding Reservoirs | 50 | - | 70 | 0% | - | 0% | 1.429% | - | 2% | 1.667% | 0.014286 | 0.016667 | 0.02
313 | Lake, River and Other Intakes | 50 | - | 70 | -5% | - | 0% | 1.429% | - | 2% | 1.665% | 0.014286 | 0.016667 | 0.02
314 | Wells and Springs | 30 | - | 45 | -10% | - | 0% | 2.222% | - | 3.667% | 2.944% | 0.022222 | 0.027027 | 0.033333
316 | Supply Mains | 50 | - | 75 | -10% | - | 0% | 1.333% | - | 2.2% | 1.767% | 0.013333 | 0.016129 | 0.02
317 | Other Water Source Plant | 20 | - | 25 | 0% | - | 0% | 4% | - | 5% | 4.5% | 0.04 | 0.045455 | 0.05
Pumping Plant
321 | Structures and Improvements | 30 | - | 40 | -15% | - | 0% | 2.5% | - | 3.833% | 3.2% | 0.025 | 0.028571 | 0.033333
323 | Other Power Production Equipment | 20 | - | 30 | -10% | - | 0% | 3.333% | - | 5.5% | 4.415% | 0.033333 | 0.04 | 0.05
325 | Electric Pumping Equipment | 20 | - | 30 | -10% | - | 0% | 3.333% | - | 5.5% | 4.415% | 0.033333 | 0.04 | 0.05
326 | Diesel Pumping Equipment | 20 | - | 30 | -10% | - | 0% | 3.333% | - | 5.5% | 4.4% | 0.033333 | 0.04 | 0.05
328 | Other Pumping Equipment | 20 | - | 30 | -10% | - | 0% | 3.333% | - | 5.5% | 4.4% | 0.033333 | 0.04 | 0.05
Water Treatment Plant
331 | Structures and Improvements | 30 | - | 40 | -15% | - | 0% | 2.5% | - | 3.833% | 3.2% | 0.025 | 0.028571 | 0.033333
332 | Sand and Other Media Filtration Equipment | 30 | - | 40 | -20% | - | 0% | 2.5% | - | 4% | 3.25% | 0.025 | 0.028571 | 0.033333
333 | Membrane Filtration Equipment | 15 | - | 20 | -5% | - | 0% | 5% | - | 7% | 6% | 0.05 | 0.058824 | 0.066667
334 | Other Water Treatment Equipment | 15 | - | 20 | -5% | - | 0% | 5% | - | 7% | 6% | 0.05 | 0.058824 | 0.066667
Transmission and Distribution Plant
341 | Structures and Improvements | 30 | - | 40 | -15% | - | 0% | 2.5% | - | 3.833% | 3.2% | 0.025 | 0.028571 | 0.033333
342 | Distribution Reservoirs and Standpipes | 50 | - | 65 | -10% | - | 0% | 1.538% | - | 2.2% | 1.869% | 0.015385 | 0.017544 | 0.02
343 | Transmission and Distribution Mains | 85 | - | 100 | -10% | - | 0% | 1% | - | 1.294% | 1.3% | 0.01 | 0.01087 | 0.011765
345 | Services | 45 | - | 60 | -30% | - | 0% | 1.667% | - | 2.889% | 2.9% | 0.016667 | 0.019231 | 0.022222
346 | Meters | 16 | - | 25 | 0% | - | 0% | 4% | - | 6.25% | 5.5% | 0.04 | 0.05 | 0.04
348 | Hydrants | 55 | - | 75 | -20% | - | 0% | 1.333% | - | 2.182% | 2.2% | 0.013333 | 0.015385 | 0.018182
349 | Other Transm. and Distribution Plant | 15 | - | 30 | 0% | - | 0% | 3.333% | - | 6.667% | 4.998% | 0.033333 | 0.045455 | 0.066667
General Plant
390 | Structures and Improvements | 30 | - | 40 | 0% | - | 0% | 2.5% | - | 3.333% | 2.9% | 0.025 | 0.028571 | 0.033333
391 | Office Furniture and Equipment | 15 | - | 20 | 0% | - | 0% | 5% | - | 6.667% | 5.833% | 0.05 | 0.058824 | 0.066667
391.1 | Computer Equipment | 3 | - | 5 | 0% | - | 0% | 20% | - | 33.33% | 26.66% | 0.2 | 0.25 | 0.33333
392 | Transportation Equipment | 5 | - | 15 | 10% | - | 25% | 6.667% | - | 20% | 13.3% | 0.066667 | 0.1 | 0.2
393 | Stores Equipment | 15 | - | 20 | 0% | - | 0% | 5% | - | 6.667% | 5.833% | 0.05 | 0.058824 | 0.066667
394 | Tools, Shop and Garage Equipment | 15 | - | 20 | 0% | - | 0% | 5% | - | 6.667% | 5.833% | 0.05 | 0.058824 | 0.066667
395 | Laboratory Equipment | 15 | - | 20 | 0% | - | 0% | 5% | - | 6.667% | 5.833% | 0.05 | 0.058824 | 0.066667
396 | Power Operated Equipment | 10 | - | 20 | 10% | - | 25% | 5% | - | 10% | 7.5% | 0.05 | 0.066667 | 0.1
397 | Communication Equipment | 5 | - | 10 | 0% | - | 0% | 10% | - | 20% | 15% | 0.1 | 0.14286 | 0.2
397.1 | Communication Equipment - SCADA | 10 | - | 12 | 0% | - | 0% | 8.333% | - | 10% | 9.167% | 0.083333 | 0.090909 | 0.1
398 | Miscellaneous Equipment | 15 | - | 20 | 0% | - | 0% | 5% | - | 6.667% | 5.833% | 0.05 | 0.058824 | 0.066667
NOTE 1: | In the event any class of plant shall become fully depreciated by the use of these rates with due consideration for net salvage, if any, then no further accrual for such class of plant shall be made.
NOTE 2: | The net salvage percentages listed with a negative sign indicate a negative net salvage.
NOTE 3: | The recommended Total Utility Composite depreciation rate range is 2.0% to 2.5%.
Transmission and Distribution Plant
| Structures and Improvements | 0.025 | Excellent | 0.025
|  | 0.028571 | Good | 0.029
|  | 0.033333 | Fair | 0.033
|  | 1 | Replace | 1
| Distribution Reservoirs and Standpipes | 0.015385 | Excellent | 0.015
|  | 0.017544 | Good | 0.018
|  | 0.02 | Fair | 0.02
|  | 1 | Replace | 1
| Transmission and Distribution Mains | 0.01 | Excellent | 0.01
|  | 0.01087 | Good | 0.011
|  | 0.011765 | Fair | 0.012
|  | 1 | Replace | 1
| Services | 0.016667 | Excellent | 0.017
|  | 0.019231 | Good | 0.019
|  | 0.022222 | Fair | 0.022
|  | 1 | Replace | 1
| Meters | 0.04 | Excellent | 0.04
|  | 0.05 | Good | 0.05
|  | 0.04 | Fair | 0.04
|  | 1 | Replace | 1
| Hydrants | 0.013333 | Excellent | 0.013
|  | 0.015385 | Good | 0.015
|  | 0.018182 | Fair | 0.018
|  | 1 | Replace | 1
| Other Transm. and Distribution Plant | 0.033333 | Excellent | 0.033
|  | 0.045455 | Good | 0.045
|  | 0.066667 | Fair | 0.067
|  | 1 | Replace | 1

## Connection Charge worksheet
Connection Charge Proposal
Property Owner:
Builder/Contractor: | [13 empty] | This proposal is good for 90 days.
Property Location:
Phone:
Residential |  | Commercial |  | Water Trust |  | Developer
On Main |  | Off Main |  | Connecting Main
REU Calculation | [13 empty] | REU
0
Based on the number of laterals on the "System Valuation" worksheet
Connecting Main Cost
Standard System Costs
REU | System Cost |  | Total Subdivision System Cost
0 | x | 1683 | = | 0
Local Delivery Main Extension Cost
Existing System |  |  |  | 0
Service Lateral (Street) Cost
Service Laterals - Existing |  |  |  | 0
Standard Revenue Credit
REU |  | Rev Credit |  | Total Credit
0 | X | 1683 | = | 0
Additional Customer Credit
0
Upgrade Costs |  | (System Depreciation)
0
Water Trust Connection Charge = Connecting Main Cost + Standard System Costs + Local Delivery Main Extension
Cost + Service Lateral (Street) Cost - Standard Revenue Credit - Additional Customer Credits + Upgrade Costs (p17, rules)
Connection Charge =
0 | + | 0 | + | 0 | + | 0 | - | 0 | - | 0 | + | 0 | = | 0